## EncapHeader
Encap_Header
	Field Name	Data type	Size
Encapsulation Header	Command	UINT	2
	Length	UINT	2	Length in bytes
	Session_Handle	UDINT	4
	Status	UDINT	4
	Sender_ContextL	DINT	4
	Sender_ContextH	DINT	4
	Options	UDINT	4
			24

## RegisterSession
RegisterSession_Request
	Field Name		Data type	Size	Value
Encapsulation Header	Header	Command	UINT	2	0x0065
		Length	UINT	2	4	Length in bytes
		Session_Handle	UDINT	4
		Status	UDINT	4
		Sender_ContextL	DINT	4
		Sender_ContextH	DINT	4
		Options	UDINT	4	0
Data	Protocol version		UINT	2	1
	Options Flags		UINT	2	0
				28

RegisterSession_Reply
	Field Name		Data type	Size	Value
Encapsulation Header	Header	Command	UINT	2	0x0065
		Length	UINT	2	4	Length in bytes
		Session_Handle	UDINT	4		Handle return by target
		Status	UDINT	4
		Sender_ContextL	DINT	4
		Sender_ContextH	DINT	4
		Options	UDINT	4	0
Data	Protocol version		UINT	2	1
	Options Flags		UINT	2	0
				28

UnRegisterSession_Request
	Field Name		Data type	Size	Value
Encapsulation Header	Header	Command	UINT	2	0x0066
		Length	UINT	2	4	Length in bytes
		Session_Handle	UDINT	4
		Status	UDINT	4
		Sender_ContextL	DINT	4
		Sender_ContextH	DINT	4
		Options	UDINT	4	0
				24

## ListServices
ListServices_Request
	Field Name	Data type	Size	Value
Encapsulation Header	Command	UINT	2	0x0004
	Length	UINT	2	0
	Session_Handle	UDINT	4
	Status	UDINT	4
	Sender_ContextL	DINT	4
	Sender_ContextH	DINT	4
	Options	UDINT	4	0
			24

ListServices_Reply
	Field Name		Data type	Size	Value
Encapsulation Header	Header	Command	UINT	2	0x0004
		Length	UINT	2
		Session_Handle	UDINT	4
		Status	UDINT	4
		Sender_ContextL	DINT	4
		Sender_ContextH	DINT	4
		Options	UDINT	4	0
Data	Count		UINT	2
	Service_Information		Eip_Item_Format[]	0
				26

## ListInterfaces
ListInterface_Request
	Field Name	Data type	Size	Value
Encapsulation Header	Command	UINT	2	0x0064
	Length	UINT	2	0
	Session_Handle	UDINT	4
	Status	UDINT	4
	Sender_ContextL	DINT	4
	Sender_ContextH	DINT	4
	Options	UDINT	4	0
			24

ListInterface_Reply
	Field Name		Data type	Size	Value
Encapsulation Header	Header	Command	UINT	2	0x0064
		Length	UINT	2
		Session_Handle	UDINT	4
		Status	UDINT	4
		Sender_ContextL	DINT	4
		Sender_ContextH	DINT	4
		Options	UDINT	4	0
Data	Count		UINT	2
	Data		Eip_Item_Format[]	0
				26

## ListIndentity
ListIdentity_Request
	Field Name	Data type	Size	Value
Encapsulation Header	Command	UINT	2	0x0063
	Length	UINT	2	0
	Session_Handle	UDINT	4
	Status	UDINT	4
	Sender_ContextL	DINT	4
	Sender_ContextH	DINT	4
	Options	UDINT	4	0
			24

ListIdentity_Reply
	Field Name		Data type	Size	Value
Encapsulation Header	Header	Command	UINT	2	0x0063
		Length	UINT	2
		Session_Handle	UDINT	4
		Status	UDINT	4
		Sender_ContextL	DINT	4
		Sender_ContextH	DINT	4
		Options	UDINT	4	0
Data	Count		UINT	2
	Data		Eip_Item_Format[]
				26

## Send__Data
SENDRRData : Request / Reply
				Field Name	Data type	Size	Value
			Encapsulation Header	Command	UINT	2	0x6F
				Length	UINT	2		Length in bytes
				Session Handle	UDINT	4
				Status	UDINT	4	0
				Sender context	Array of octet	8
				Options	UDINT	4	0
			Data	Interface Handle	UDINT	4	0
				Timeout	UINT	2
		Common Packet		Item Count	UINT	2	2
	Adress Item			Type Id	UINT	2
				Length	UINT	2		Length in bytes
				Data
	Data Item			Type Id	UINT	2
				Length	UINT	2		Length in bytes
				Data
					40

SENDUnitData : Request / Reply
				Field Name	Data type	Size	Value
			Encapsulation Header	Command	UINT	2	0x70
				Length	UINT	2		Length in bytes
				Session Handle	UDINT	4
				Status	UDINT	4	0
				Sender context	Array of octet	8
				Options	UDINT	4	0
			Data	Interface Handle	UDINT	4	0
				Timeout	UINT	2
		Common Packet		Item Count	UINT	2	2
	Adress Item			Type Id	UINT	2
				Length	UINT	2		Length in bytes
				Data
	Data Item			Type Id	UINT	2
				Length	UINT	2		Length in bytes
				Data
					40

## Msg Router
Message Router request
Service	USINT	1
Request_Path_Size	USINT	1	Size in word
Request_Path	Padded Epath
Request_Data	Array of octet

Message Router reply
Service	USINT	1
Reserved	USINT	1
General_Status	USINT	1
Add_Status_Size	USINT	1	Size in word
Add_Status	Array of UINT
Response_Data	Array of octet

## SendRRData_UCMM
		SENDRRData / UCMM Request
				Field Name	Data type	Size	Value
			Encapsulation Header	Command	UINT	2	0x6F
				Length	UINT	2		Length in bytes
				Session Handle	UDINT	4
				Status	UDINT	4	0
				Sender context	Array of octet	8
				Options	UDINT	4	0
			Data	Interface Handle	UDINT	4	0
				Timeout	UINT	2
		Common Packet		Item Count	UINT	2	2
	Adress Item			Type Id	UINT	2	0
				Length	UINT	2	0	Length in bytes
	Data Item			Type Id	UINT	2
				Length	UINT	2		Length in bytes
Message Router request				Service	USINT	1
				Request Path size	USINT	1		Size in word
				Request Path	Padded Epath
				Request Data	Array of octet

		SENDRRData / UCMM Reply
				Field Name	Data type	Size	Value
			Encapsulation Header	Command	UINT	2	0x6F
				Length	UINT	2		Length in bytes
				Session Handle	UDINT	4
				Status	UDINT	4	0
				Sender context	Array of octet	8
				Options	UDINT	4	0
			Data	Interface Handle	UDINT	4	0
				Timeout	UINT	2
		Common Packet		Item Count	UINT	2	2
	Adress Item			Type Id	UINT	2	0
				Length	UINT	2	0	Length in bytes
	Data Item			Type Id	UINT	2
				Length	UINT	2		Length in bytes
Message Router reply				Service	USINT	1
				Reserved	USINT	1	0
				General Status	USINT	1
				Size of Additionnal Status	USINT	1		Size in word
				Additionnal Status	Array of UINT
				Response Data	Array of octet

## ForwardOpen
			Forward Open Request
					Field Name	Data type	Size	Value
				Encapsulation Header	Command	UINT	2	0x6F
					Length	UINT	2		Length in bytes
					Session Handle	UDINT	4
					Status	UDINT	4	0
					Sender context	Array of octet	8
					Options	UDINT	4	0
				Data	Interface Handle	UDINT	4	0
					Timeout	UINT	2
			Common Packet		Item Count	UINT	2	2
		Adress Item			Type Id	UINT	2	0
					Length	UINT	2	0	Length in bytes
		Data Item			Type Id	UINT	2
					Length	UINT	2		Length in bytes
	Message Router request				Service	USINT	1	0x54
					Request_Path_Size	USINT	1		Size in word
					Request_Path	Padded Epath
Forward open Request Length=36 (0x24) +PathSize					Priority	BYTE	1			Length=36 (0x24) +PathSize
					TimeOut_ticks	USINT	1
					OT_ConnID	UDINT	4
					TO_ConnID	UDINT	4
					ConnSerialNumber	UINT	2
					OriginatorVendorID	UINT	2
					OriginatorSerialNumber	UDINT	4
					TimeOutMultiplier	USINT	1
					Reserved	Array of octet	3
					OT_RPI	UDINT	4
					OT_Parameters	WORD	2
					TO_RPI	UDINT	4
					TO_Parameters	WORD	2
					Transport	BYTE	1
					PathSize	USINT	1		Size in word
					Path	EPath
							36
			Successful Forward Open Reply
					Field Name	Data type	Size	Value
				Encapsulation Header	Command	UINT	2	0x6F
					Length	UINT	2		Length in bytes
					Session Handle	UDINT	4
					Status	UDINT	4	0
					Sender context	Array of octet	8
					Options	UDINT	4	0
				Data	Interface Handle	UDINT	4	0
					Timeout	UINT	2
			Common Packet		Item Count	UINT	2	2
		Adress Item			Type Id	UINT	2	0
					Length	UINT	2	0	Length in bytes
		Data Item			Type Id	UINT	2
					Length	UINT	2		Length in bytes
	Message Router reply				Service	USINT	1	0xD4
					Reserved	USINT	1	0
					General Status	USINT	1
					Size of Additionnal Status	USINT	1		Size in word
Forward open Reply					Additionnal Status	Array of UINT
					OT_ConnID	UDINT	4
					TO_ConnID	UDINT	4
					ConnSerialNumber	UINT	2
					OriginatorVendorID	UINT	2
					OriginatorSerialNumber	UDINT	4
					OT_API	UDINT	4
					TO_API	UDINT	4
					ReplySize	USINT	1		Size in word
					Reserved	USINT	1
					Reply	Array of Byte

			UnSuccessful Forward Open Reply
					Field Name	Data type	Size	Value
				Encapsulation Header	Command	UINT	2	0x6F
					Length	UINT	2		Length in bytes
					Session Handle	UDINT	4
					Status	UDINT	4	0
					Sender context	Array of octet	8
					Options	UDINT	4	0
				Data	Interface Handle	UDINT	4	0
					Timeout	UINT	2
			Common Packet		Item Count	UINT	2	2
		Adress Item			Type Id	UINT	2	0
					Length	UINT	2	0	Length in bytes
		Data Item			Type Id	UINT	2
					Length	UINT	2		Length in bytes
	Message Router reply				Service	USINT	1	0xD4
					Reserved	USINT	1	0
					General Status	USINT	1
					Size of Additionnal Status	USINT	1		Size in word
Forward open Reply					Additionnal Status	Array of UINT
					ConnSerialNumber	UINT	2
					OriginatorVendorID	UINT	2
					OriginatorSerialNumber	UDINT	4
					RemainPathSize	USINT	1
					Reserved	USINT	1

## ForwardClose
			Forward Close Request
					Field Name	Data type	Size	Value
				Encapsulation Header	Command	UINT	2	0x6F
					Length	UINT	2		Length in bytes
					Session Handle	UDINT	4
					Status	UDINT	4	0
					Sender context	Array of octet	8
					Options	UDINT	4	0
				Data	Interface Handle	UDINT	4	0
					Timeout	UINT	2
			Common Packet		Item Count	UINT	2	2
		Adress Item			Type Id	UINT	2	0
					Length	UINT	2	0	Length in bytes
		Data Item			Type Id	UINT	2
					Length	UINT	2		Length in bytes
	Message Router request				Service	USINT	1	0x4E
					Request_Path_Size	USINT	1		Size in word
					Request_Path	Padded Epath
Forward Close Request					Priority	BYTE	1
					TimeOut_ticks	USINT	1
					ConnSerialNumber	UINT	2
					OriginatorVendorID	UINT	2
					OriginatorSerialNumber	UDINT	4
					PathSize	USINT	1		Size in word
					Path	EPath

			Successful Forward Close Reply
					Field Name	Data type	Size	Value
				Encapsulation Header	Command	UINT	2	0x6F
					Length	UINT	2		Length in bytes
					Session Handle	UDINT	4
					Status	UDINT	4	0
					Sender context	Array of octet	8
					Options	UDINT	4	0
				Data	Interface Handle	UDINT	4	0
					Timeout	UINT	2
			Common Packet		Item Count	UINT	2	2
		Adress Item			Type Id	UINT	2	0
					Length	UINT	2	0	Length in bytes
		Data Item			Type Id	UINT	2
					Length	UINT	2		Length in bytes
	Message Router reply				Service	USINT	1	0xCE
					Reserved	USINT	1	0
					General Status	USINT	1
					Size of Additionnal Status	USINT	1		Size in word
Forward close Reply					Additionnal Status	Array of UINT
					ConnSerialNumber	UINT	2
					OriginatorVendorID	UINT	2
					OriginatorSerialNumber	UDINT	4
					ReplySize	USINT	1		Size in word
					Reserved	USINT	1
					Reply	Array of Byte

			UnSuccessful Forward Close Reply
					Field Name	Data type	Size	Value
				Encapsulation Header	Command	UINT	2	0x6F
					Length	UINT	2		Length in bytes
					Session Handle	UDINT	4
					Status	UDINT	4	0
					Sender context	Array of octet	8
					Options	UDINT	4	0
				Data	Interface Handle	UDINT	4	0
					Timeout	UINT	2
			Common Packet		Item Count	UINT	2	2
		Adress Item			Type Id	UINT	2	0
					Length	UINT	2	0	Length in bytes
		Data Item			Type Id	UINT	2
					Length	UINT	2		Length in bytes
	Message Router reply				Service	USINT	1	0xCE
					Reserved	USINT	1	0
					General Status	USINT	1
					Size of Additionnal Status	USINT	1		Size in word
Forward close Reply					Additionnal Status	Array of UINT
					ConnSerialNumber	UINT	2
					OriginatorVendorID	UINT	2
					OriginatorSerialNumber	UDINT	4
					RemainPathSize	USINT	1
					Reserved	USINT	1

## Unconnected send
			Unconnected Send Request
					Field Name	Data type	Size	Value
				Encapsulation Header	Command	UINT	2	0x6F
					Length	UINT	2		Length in bytes
					Session Handle	UDINT	4
					Status	UDINT	4	0
					Sender context	Array of octet	8
					Options	UDINT	4	0
				Data	Interface Handle	UDINT	4	0
					Timeout	UINT	2
			Common Packet		Item Count	UINT	2	2
		Adress Item			Type Id	UINT	2	0
					Length	UINT	2	0	Length in bytes
		Data Item			Type Id	UINT	2
					Length	UINT	2		Length in bytes
	Message Router request				Service	USINT	1	0x4E
					Request_Path_Size	USINT	1		Size in word
					Request_Path	Padded Epath
Forward Close Request					Priority	BYTE	1
					TimeOut_ticks	USINT	1
					ConnSerialNumber	UINT	2
					OriginatorVendorID	UINT	2
					OriginatorSerialNumber	UDINT	4
					PathSize	USINT	1		Size in word
					Path	EPath

			Successful Forward Close Reply
					Field Name	Data type	Size	Value
				Encapsulation Header	Command	UINT	2	0x6F
					Length	UINT	2		Length in bytes
					Session Handle	UDINT	4
					Status	UDINT	4	0
					Sender context	Array of octet	8
					Options	UDINT	4	0
				Data	Interface Handle	UDINT	4	0
					Timeout	UINT	2
			Common Packet		Item Count	UINT	2	2
		Adress Item			Type Id	UINT	2	0
					Length	UINT	2	0	Length in bytes
		Data Item			Type Id	UINT	2
					Length	UINT	2		Length in bytes
	Message Router reply				Service	USINT	1	0xCE
					Reserved	USINT	1	0
					General Status	USINT	1
					Size of Additionnal Status	USINT	1		Size in word
Forward close Reply					Additionnal Status	Array of UINT
					ConnSerialNumber	UINT	2
					OriginatorVendorID	UINT	2
					OriginatorSerialNumber	UDINT	4
					ReplySize	USINT	1		Size in word
					Reserved	USINT	1
					Reply	Array of Byte

			UnSuccessful Forward Close Reply
					Field Name	Data type	Size	Value
				Encapsulation Header	Command	UINT	2	0x6F
					Length	UINT	2		Length in bytes
					Session Handle	UDINT	4
					Status	UDINT	4	0
					Sender context	Array of octet	8
					Options	UDINT	4	0
				Data	Interface Handle	UDINT	4	0
					Timeout	UINT	2
			Common Packet		Item Count	UINT	2	2
		Adress Item			Type Id	UINT	2	0
					Length	UINT	2	0	Length in bytes
		Data Item			Type Id	UINT	2
					Length	UINT	2		Length in bytes
	Message Router reply				Service	USINT	1	0xCE
					Reserved	USINT	1	0
					General Status	USINT	1
					Size of Additionnal Status	USINT	1		Size in word
Forward close Reply					Additionnal Status	Array of UINT
					ConnSerialNumber	UINT	2
					OriginatorVendorID	UINT	2
					OriginatorSerialNumber	UDINT	4
					RemainPathSize	USINT	1
					Reserved	USINT	1

## Feuil1
Open / Close socket Request	Request	Wparam	Lparam	Result
	Asynch	WinHand	0
	Synch	EventId	@Result	True/False

Open / Close socket Reply	Reply	Wparam	Lparam	Result
	Asynch	Code	0
	Synch			True/False

SendRequest	Request	Wparam	Lparam	Result
	Asynch	PSendRequest	0
	Synch	PSendRequest	@Result	Code

SendReply	Reply	Wparam	Lparam	Result
	Asynch	Code	0
	Synch			True/False

PSendRequest				Asynch	Synch
	Field Name	Data type	Size	Value	Value
Encapsulation Header	Command	UINT	2
	Length	UINT	2
	Session Handle	UDINT	4	WinHand	EventId
	Status	UDINT	4	Timeout	Timeout
	Sender context L	DINT	4
	Sender context H	DINT	4
	Options	UDINT	4

Reply ( Handle , Msg , Result , Code )